generator   Airman SDG45S  36 KW Mobile Generator set  SN#1336A60278

7216 hours  Nissan SDG45S 4 cylinder Diesel Engine,

45 kVA / rated 3 phase Output, 240 V rated Voltage, 240 V & 120 V Receptacles,

sound attenuated, bottom mounted fuel tank, T/A trailer, Lunette Ring,

Electric brakes  No title